EXPANDED METHODS

High-Resolution Exposomics

Prior to processing samples, several individual reference standards were prepared by spiking pure chemical standards into pooled reference plasma to achieve a common concentration of 0.5 ng/mL. All chemical standards were purchased from Cambridge Isotope Laboratories (Tewksbury, MA) and AccuStandard (New Haven, CT). Plasma reference standards and tissue samples were processed using a modified version of the express liquid extraction (XLE) method.1 The XLE is optimized for biofluids; however, it was necessary to modify it to ensure analytical consistency across plasma standards and tumor tissue samples, as detailed below.

First, ~50 mg of tumor or cadaver control thyroid tissue was cut and placed into a glass vial (13x100 mm), and exact tissue weights were recorded (mean ± SD = 52.7 ± 11.3 mg for tumor tissue, 43.1 ± 4.5 mg for cadaver control thyroid tissue). Next, 200 μL of each pooled reference plasma standard (an in-house standard referred to as QStd; see Go et al.2 for a full description of a previous iteration of this standard) was transferred to glass vials (13x100 mm). For tissues, 500 μL of an extraction buffer comprised of acetone and petroleum ether (1:1 v/v) (MilliporeSigma, Catalog #184519) with ~2% internal standard mix, was added to the glass vials containing tissues. For plasma, 200 μL of extraction buffer containing 2% internal standard mix was added to the glass vials containing the pooled reference plasma. 50 μL of formic acid (Emprove® Essential DAC, 98-100% pure, MilliporeSigma, Catalog #1002631000) was then added to tissue and plasma standard vials. To the tissue vials, 20 mg of NaCl was added, and 45 ± 5 mg of MgSO4 (≥99.99% trace metals basis, Sigma-Aldrich, Catalog #203726) was added to tissue and plasma standard vials.

Tissue samples were then homogenized in this solution using a tissue-tearor, followed by water bath sonication for 30 minutes at room temperature. Plasma samples were shaken vigorously on ice using a multitube vortexer (VWR VX-2500) for 60 min. Following this, both tissue and plasma homogenates were centrifuged at 3000 rpm x 4 °C x 10 min. Supernatants were then transferred to new glass vials (13 × 100 mm) and dried using a vacuum centrifuge for 60 min at 35 °C. Finally, dried samples were reconstituted in 50 μL of isooctane. Reconstituted samples were transferred to autosampler vials with 150 μL vial inserts for analysis. Samples were prepared in batches containing 20 samples along with standard reference material (SRM) samples (NIST 1957, 1958, and several in-house SRMs discussed above). In addition, pooled reference plasma samples, a retention-time batch comparison standard, a method solvent blank that underwent solvent extraction, and a solvent blank were prepared in tandem as part of quality control measures. It should be noted that tumor tissues and cadaver control thyroid tissues were analyzed at different timepoints and in separate batches, although the same method was used for each tissue. As a result, direct comparison of raw spectral intensities between controls and tumors was limited; however, quantitative estimates of chemical concentrations in tissues (see the section ‘Quantitative Estimates of Chemical Concentrations in Tissues’ below) did enable some degree of direct comparison, though these comparisons should be interpreted conservatively and cautiously given the high potential for batch effects.

Following preparation, samples were analyzed in duplicate with a Q Exactive GC hybrid quadrupole Orbitrap mass spectrometer (ThermoScientific), allowing for 25 minutes of data collection on retention times and spectral intensities from m/z 85-850 collected at 60k resolution.  Samples were injected at 2 μL and subjected to a capillary DB-5MS column (15 m x 0.25 mm x 0.25 μm film thickness) with a gradient as follows: 75 °C for 1 min then 25 °C/min to 180 °C, 6 °C/min to 250 °C, 20 °C/min to 300 °C, with a final 5 min hold. Helium gas flow rate was 1 mL/min. Positive electron ionization was set at 70 eV, the ion source was set at 250 °C, and the transfer line was set at 280 °C.

Data Extraction, Feature Annotation, and Signal Identification

All source code is available in the accompanying GitHub repository (https://github.com/jdpreston30/thyroid-exposomics-2025) and included as a static archive in Supplementary File 5 (a zipped copy of the repository at the time of submission). Raw data were extracted on a sample-by-sample basis using MZmine2.3 Data were interpreted and combined using an in-house algorithm for feature annotation and the identification and quantification of chemicals in GC-MS exposomics data. Briefly, the algorithm utilizes a large library of environmental chemicals (EC) with known concentrations in standards, each of which has been manually quantified to ascertain retention times within the context of the laboratory procedure. In total, 738 unique standards are in the library; however, 28 of these represent chemicals that can be considered largely endogenous and not ECs. The remaining standards can be considered entirely exogenous (700) or both endogenous and exogenous (10) chemicals, resulting in a total of 710 ECs in the library, which can be screened by parallel analysis of standards with samples. This library is compared against sample data to find the best matching signal for ECs if any appropriate candidates exist. Shifts in elution time due to column degradation and the presence of co-occurring isomers pose significant challenges for standard annotation procedures; however, the algorithm addresses this issue by employing time-warping techniques, along with corrective algorithms that mimic manual chemical identification procedures, to overcome these challenges. Chemical identification and accuracy are achieved by leveraging the co-elution and correlation of chemical fragments generated from the same chemical. Standards are run in tandem with samples, which allows not only for the identification and relative quantification of all chemicals in the library of standards but also for the absolute quantification of identified metabolites using the comparative intensity of peak areas. The algorithm specifically assigns “quality fractions” based on the simultaneous detection of multiple fragments of the same chemical. Following the application of the algorithm for annotation, the quality fraction was used to label features as ‘annotations’ (quality fraction of 0) while the remaining signals were labeled ‘identifications.’ The algorithm will be published as a Python or R package in the coming 1-2 years. For further details on the algorithm, readers are welcome to contact the corresponding author.

Preprocessing of Exposomics Data

A targeted exposomics feature table (Supplementary File 2) was derived from the feature annotation and signal identification process described above. The proportion of missing values (PMV) was then calculated for each feature (total number of missing values/60 total samples). Next, features with PMV > 30% missing values were separated for analysis in ‘qualitative’ mode. The individual spectral intensity values for qualitative features were converted to ‘1,’ representing detection, whereas missing values were converted to ‘0,’ representing non-detection.  Any qualitative features with 100% ‘0’ values (indicating detection in reference standards but complete non-detection in samples) were eliminated and not considered for further analysis. Alternatively, the remaining features with PMV ≤ 30% were separated for analysis in ‘quantitative’ mode. The missing values for quantitative features were imputed using the half minimum method (study-wide).4 Following imputation, all spectral intensity values for quantitative features were log2-transformed before further analysis. Finally, to determine the total number of unique chemicals detected per sample, features were consolidated and grouped by their respective Chemical Abstracts Service registry numbers (CAS number), regardless of analytical mode (qualitative versus quantitative), such that the detection of at least one fragment for a given CAS number was considered as detection of that unique chemical. This list of chemicals was then compiled, and chemicals that were mainly endogenous (i.e., carnitines, cholesterol, arachidonic acid metabolites, bile acids, hormones, and hormone precursors) were removed and not considered for exposomics analysis (23 total). Chemicals that had both exogenous and endogenous dispositions (7 total) were retained for exposomics analysis. The number of unique chemicals detected was then tallied for each sample. The median number of chemicals detected per variant (prior to imputation) was compared using the Kruskal-Wallis test.

Metadata Annotation of Environmental Chemicals

The name, IUPAC name, CAS number, PubChem Compound Identification (CID), SMILES, InChIKey, InChI, Toxin and Toxin-Target Database5 ID (when applicable), monoisotopic mass, and formula were obtained for each chemical detected in at least one sample. For the purposes of data visualization and simplified naming in the manuscript text, a short name or abbreviation was assigned to a large portion of chemicals. The Toxin-Toxin-Targeted Database5 (T3DB) ID and the International Agency for Research on Cancer (IARC) carcinogen group6 were assigned to chemicals when applicable and possible (when this information could not be ascertained, the T3DB ID was listed as ‘NA’ and the IARC Group was listed as ‘Not Classified’). Classification as either a potential endocrine-disrupting chemical (EDC) or non-EDC was assigned to each chemical, per the PARCEDC list7. Inclusion on the list resulted in chemicals being marked as potential EDCs; non-inclusion resulted in classification as a non-EDC. The single most common use or best-fit chemical class was identified for each chemical. To facilitate data visualization, broader categories were also assigned to each chemical. For example, if a chemical’s common-use class was ‘Insecticide/Pesticide (Pyrethroid),’ this was simplified to ‘Insecticide/Pesticide’ for data display. In the broader categories, metabolites or degradation products of certain chemicals were simply considered as members of the class to which their precursor belonged. For example, aldicarb sulfone, a breakdown product of the carbamate pesticide aldicarb, was classified as an insecticide/pesticide. However, the inclusion of breakdown products is indicated in figures and tables where applicable. ClassyFire8 was used to designate superclasses, classes, subclasses, direct parents, and molecular frameworks. All chemical metadata are available in Supplementary File 3.

Core Statistical Analysis and Data Visualization

All data were compiled and structured using Microsoft Excel (Mac v16.96, Microsoft Corporation, 2025). All code was written and executed using R (v4.3.1)9 in Visual Studio Code (v1.82.2, Microsoft Corporation, 2025). Source code can be found in Supplementary File Data 5. Data visualization was performed using GraphPad Prism (Mac v10.4.0, GraphPad Software, 2024) and the R package, ggplot2.10 All figures were compiled and edited using BioRender.com (see Supplementary File 6 for publication licenses).

Exposome-Wide Association Study:

Electron ionization generates multiple fragments for each chemical prior to detection; thus, in many cases, multiple fragments were annotated for the same chemical. In keeping with our exploratory and descriptive approach and to maximize coverage, we treated each fragment as an individual observation during statistical analysis. For qualitative features, Fisher’s exact test for count data was employed on the binary exposomics data to determine if any chemical was overrepresented in its detection within any specific variant. Corresponding detection fractions were calculated for each variant (sum of samples with detection of chemical/20 samples per variant). For quantitative features, one-way ANOVA was used to assess differences in mean spectral intensities across variants, with corresponding p-values calculated for each chemical. Post-hoc testing was performed using Tukey’s HSD test, which included correction for multiple comparisons. Given the pilot design and exploratory nature of this study, no false discovery rate corrections were applied beyond those used in post-hoc testing. Mean spectral intensities were scaled by converting them to z-scores within each chemical. Chemicals with a p < 0.05 from either test were considered significant and were compiled, tabulated, and further classified as described below. Four chemicals had multiple fragments showing significant differences between variants. In these cases, the quantitative fragment was selected if available; otherwise, the fragment with the highest frequency of detection across all samples, irrespective of variant, was selected.  The top 5 quantitative features were visualized via violin plots (of z-scored spectral intensities), and the top 10 qualitative features via a heatmap (of detection fraction/percent). A balloon plot was constructed based on these results, wherein significant ECs were grouped by usage classes and variants, being ‘counted’ once each time it was ‘highest,’ whether by qualitative or quantitative measures in a variant. In cases where the detection percentages were equally high in two variants, a count was assigned to each variant.

Advanced Carcinogenicity Classification of Select Chemicals

To identify any potential carcinogens that have not been evaluated by the IARC, additional research was performed on the chemicals that showed significant differences in presence or concentration between variants (63 in total). To accomplish this, the Global Harmonized System of Classification and Labelling of Chemicals (GHS) statements were screened for any listed H350 (“may cause cancer”), H350i (“may cause cancer by inhalation”), or H351 (“suspected of causing cancer”) status (and the corresponding consensus/confidence percentages of data sources as listed on PubChem in section 12.1.1, ‘GHS Classification’). Systematic logic that considered both the IARC grouping and the GHS carcinogen statement was then applied to categorize chemicals into the groups “Known Carcinogen,” “Likely Carcinogen,” “Possible Carcinogen,” or “Uncertain Risk” (for the function accomplishing this, see the source code in Supplementary File 5). Chemicals with no IARC group and GHS statement were not classified. Briefly, the following rules were applied for classification:

- IARC group 1 chemicals were automatically assigned ‘Known Carcinogen’, and group 2A ‘Likely Carcinogen.’ These conditions overrode any other considerations.

- If IARC grouping was 2B, 3, or not evaluated, but H350 or H350i 50%, then the chemical was assigned ‘Likely Carcinogen.’

- If IARC grouping was 2B, 3, or not evaluated, but H351 > 0% and/or 0% < H350/H350i < 50%, then the chemical was assigned ‘Possible Carcinogen.’

- IARC group 3 chemicals with no supporting GHS H350, H350i, or H351 statement listed were assigned ‘Uncertain Risk.’

- Chemicals with no IARC evaluation and no supporting GHS H350, H350i, or H351 statement listed were considered ‘Unclassified’ as to their carcinogenicity.

These classifications, along with the detection percentage or mean spectral intensity Z-score for each variant, as well as other relevant statistical data and chemical metadata, are provided in Supplementary File 4.

Quantitative Estimates of Chemical Concentrations in Tissues

The SRM used for annotation and identification had a concentration of 0.5 ng/mL for each individual EC. Thus, we used the spectral intensities associated with these known concentrations to establish estimates of chemical concentrations within tissues in parts per million (PPM) and parts per billion (PPB). Importantly, we relied on the following experimental features and assumptions:

- Tissues are processed via solvent extraction and subsequent solvent evaporation, followed by reconstitution in 50 μL of isooctane. For the purposes of calculating concentrations in the original samples, we assume 100% extraction efficiency from tissues and plasma, such that the entire amount of the EC present in the sample is recovered in the isooctane.

- A chemical concentration of 0 ng/mL results in an intensity of 0 (i.e., the origin of (0,0)). This is used in combination with the intensity from the known concentration in the SRM (0.5 ng/mL) to establish a two-point standard curve, which assumes linearity.

- While each chemical has a concentration in the SRM of 0.5 ng/mL, the concentration in 50 μL of isooctane is 2 ng/mL. This is because 200 μL of SRM plasma is used, and therefore, 0.1 ng of the total EC of interest is extracted. This is dried after extraction and reconstituted in 50 μL of isooctane, resulting in a concentration of 2 ng/mL in the injected solution.

Our calculations to estimate tissue concentrations were performed as follows for each individual chemical:

- A linear model is fit based on the assumptions discussed above, such that:

y=βx

where y is the known concentration of the EC in the SRM (0.5 ng/mL for all ECs analyzed), x is the observed spectral intensity for the given EC, and β is the slope of the calibration curve, defined by the line through the origin (0,0) and the point (x, y).

- Once the slope (β) for the specific chemical is established, it is then used to estimate concentration (ng/mL) in the sample (Ce) using the following equation:

Ce=βI

where I is the observed spectral intensity for the given EC in the sample. However, to determine the true concentration in the isooctane solvent (Ces), we must scale Ce by a factor of 2 to account for the concentration that occurs during extraction. Specifically, the 200 μL of plasma standard extracted contains 0.1 ng total of the EC (0.5 ng/mL). Assuming 100% extraction, this 0.1 ng was then resuspended in 50 μL isooctane (2 ng/mL), Therefore, we use a 2x scaling factor:

Ces=2Ce

- Next, the Ces is converted from ng/mL to mg/L:

CesmgL=CesngmL×103 mLL×10-6 mgng

CesmgL=CesngmL×10-3

- Next, the total mass of the chemical of interest present in 50 μL of isooctane (MEC) is determined:

MEC (mg)=CesmgL×50 μL solvent×10-6 LμL

MEC (mg)=5 ×10-5(L)×CemgL

- To derive the mass fraction of the EC in tissue, we divide MEC (mg) by MT mg and scale to PPM or PPB:

PPM=MECMT×106

PPB=MECMT×109

Alternatively, algorithm outputs are used directly without unit conversions, the following formula can be used, provided Ce is in ng/mL and MT is in mg:

PPM=Ce×102MT

PPB=Ce×105MT

Quantitative Comparisons of Tumors and Controls

Targeted quantitative feature tables, which were additionally filtered for detection in relevant standards, were generated for tumors and cadaver control thyroids, and conversion to PPM was performed as described above. Once spectral intensities were converted to PPM, direct comparisons of chemical concentrations were made only for fragments that were detected in both the tumor and control tissues. In cases where multiple fragments were annotated for the same chemical in both tumors and controls, an ideal fragment was first selected based on the highest percentage of detection in tumors, then the highest percentage of detection in controls, and finally the greatest mean intensity in tumors. For all matching fragments, the mean, maximum, and theoretical minimum (i.e., half the minimum detectable concentration in either the tumor or control) were calculated for tumors, specific tumor variants, and controls, and are reported as PPB in Supplementary File 4. It is important to note that means were calculated using half-minimum imputed data, even if features were detected at ‘qualitative’ analysis thresholds. Additionally, the same statistics were reported in Supplementary File 4 for the 63 chemicals that showed differences in detection or quantity between variants. For these chemicals, computations were performed based on the fragment originally described as differing between variants, regardless of any ideal fragment selection described above. Finally, a direct comparison of all detected IARC Group 1 carcinogens was performed for Figure 3D of the PPM; however, this comparison was only reported for features that met quantitative criteria in both the tumor and control datasets. Like other quantitatively analyzed chemicals, missing values were imputed with half of the minimum value detected across both tumors and controls. T-tests were run on log2-transformed data to compute p-values for comparing the means between tumors and controls for these chemicals.

Comparing Observed Concentrations to Literature Values for Select Chemicals

To compare the quantification estimates generated as described above with estimated values in other tissues and matrices, we identified values for select chemicals in the published literature and tabulated our data alongside these reported concentrations (Supplementary Table 1). We prioritized chemicals that were IARC Group 1 carcinogens and polycyclic aromatic hydrocarbon combustion byproducts. The corresponding reference from which the comparison value is derived is cited next to the listed concentration. For quantitative estimates of 245 individual chemicals, see Supplementary File 4.

-- Supplementary Table 1 is printed on the following page. --

Supplementary Table 1. Comparison of observed concentrations with reported literature values. All values originally published as ng/g, µg/L, ng/mL are listed as PPB. Values originally published as pg/mL were converted to ng/mL and then listed as PPB. All values are rounded to the nearest integer or are listed as < 1 PPB when applicable.

| Chemical Name | IARC Group | Range (PPB)* | Mean Control Concentration (PPB) | Mean Tumor Concentration (PPB) | Adipose Tissue (PPB)† | Urine (PPB)‡ | Serum/Plasma (PPB)‡ |
| --- | --- | --- | --- | --- | --- | --- | --- |
| PAHs |  |  |  |  |  |  |  |
| Acenaphthene | 3 | 228-43,000 | 2,100 | 5,300 | 1011 | - | - |
| Acenaphthylene | 2A | 17-4,100 | 2,000 | 696 | 411 | - | - |
| Anthracene | 2B | 0.3-1,800 | 975 | 89 | 4211 | - | - |
| Benz(a)anthracene | 2B | 4-7,700 | 55 | 1,200 | < 111 | - | - |
| Benzo(b)fluoranthene | 2B | 2-16,000 | 7 | 957 | < 111 | - | - |
| Benzo(k)fluoranthene | 2B | 2-6,700 | 15 | 459 | < 111 | - | 212 |
| Benzo[a]pyrene | 1 | 7-13,000 | 18 | 725 | < 111 | - | - |
| Chrysene | 2B | 1-144 | 14 | 16 | < 111 | - | - |
| DBahA | 2A | 439-30,000 | 1,800 | 14,000 | < 111 | - | - |
| Fluoranthene | 3 | 6-772 | 80 | 212 | 4911 | - | < 112 |
| Naphthalene | 2B | 9-7,100 | 723 | 908 | 5011 | - | < 112 |
| Phenanthrene | 3 | 3-2,100 | 1,100 | 98 | 13911 | - | < 112 |
| Pyrene | 3 | 2-3,500 | 35 | 403 | 2811 | - | 212 |
| Dye Intermediates |  |  |  |  |  |  |  |
| 2-Naphthylamine | 1 | 74-200,000 | 343 | 37,000 | - | 4§,13 | - |
| 4-Aminobiphenyl | 1 | 1-660,000 | 13 | 100,000 | - | < 1§,14 | - |
| Benzidine | 1 | 0.54-3,900 | 762 | 345 | - | 37‖,15 | - |
| o-Toluidine | 1 | 106-88,000 | 1,500 | 13,000 | - | < 1§,14 | - |
| PCBs |  |  |  |  |  |  |  |
| PCB-105 | 1 | 15-493 | 75 | 17 | - | - | < 114 |
| PCB-138 | 1 | 14-1,500 | 324 | 17 | 316 | - | - |
| PCB-153 | 1 | 15-588 | 128 | 39 | 316 | - | < 114 |
| PCB-172 | 1 | 26-4,800 | 911 | 45 | - | - | < 114 |
| PCB-180 | 1 | 44-2,500 | 500 | 46 | 116 | - | < 114 |
| PCB-187 | 1 | 14-514 | 114 | 16 | < 116 | - | < 114 |
| *The lower bound of the range is the ‘theoretical minimum,’ which is one half the lowest detected value. This value was used for imputing missing values to determine means. †- PAH measurements were obtained from a study that analyzed multiple adipose tissue depots across two geographically distinct cohorts,11 while PCB measurements were derived from a separate study that also included two geographically distinct cohorts.16 Thus, multiple means were listed for various subgroups within these studies. However, for each compound, the highest mean value reported across any cohort or cohort-tissue depot combination is presented. ‡- Some urine or plasma values are derived from the CDC’s Biomonitoring Data Tables for Environmental Chemicals,14 which is based on data from NHANES cohorts. In the cases where compounds had data listed from multiple cohorts, the maximum geometric mean across any given cohort is listed. §- Measurements were listed for both smokers and non-smokers. All values listed are derived from smokers, which had the highest values for all these chemicals. ‖- Measured in a cohort with known occupational exposure.15 For this cohort, a range was listed from 0.1 PPB to 37 PPB; however, the maximum value of 37 PPB is presented in the table. Abbreviations:DBahA = Dibenz(a,h)anthracene; CDC = Centers for Disease Control and Prevention; LOD = limit of detection; NHANES = National Health and Nutrition Examination Survey; PAH = polycyclic aromatic hydrocarbon, PCB = polychlorinated biphenyl; PPB = parts per billion |  |  |  |  |  |  |  |

REFERENCES

1	Hu X, Walker DI, Liang Y, et al. A scalable workflow to characterize the human exposome. Nat Commun 2021; 12: 5575.

2	Go Y-M, Walker DI, Liang Y, et al. Reference Standardization for Mass Spectrometry and High-resolution Metabolomics Applications to Exposome Research. Toxicol Sci 2015; 148: 531–43.

3	Pluskal T, Castillo S, Villar-Briones A, Orešič M. MZmine 2: Modular framework for processing, visualizing, and analyzing mass spectrometry-based molecular profile data. BMC Bioinformatics 2010; 11: 395.

4	Wei R, Wang J, Su M, et al. Missing Value Imputation Approach for Mass Spectrometry-based Metabolomics Data. Sci Rep 2018; 8: 663.

5	Wishart D, Arndt D, Pon A, et al. T3DB: the toxic exposome database. Nucleic Acids Res 2015; 43: D928–34.

6	Agents Classified by the IARC Monographs, Volumes 1–136. https://monographs.iarc.who.int/agents-classified-by-the-iarc (accessed Sept 9, 2024).

7	Andres S, Dulio V. S109 | PARCEDC | List of 7074 potential endocrine disrupting compounds (EDCs) by PARC T4.2. 2024; published online April 8. DOI:10.5281/ZENODO.10944198.

8	Djoumbou Feunang Y, Eisner R, Knox C, et al. ClassyFire: automated chemical classification with a comprehensive, computable taxonomy. J Cheminformatics 2016; 8: 61.

9	R Core Team (2023). R: A Language and Environment for Statistical Computing. https://www.r-project.org/ (accessed March 22, 2024).

10	Wickham H. ggplot2: elegant graphics for data analysis, Second edition. Switzerland: Springer, 2016.

11	Mlyczyńska E, Bongrani A, Rame C, et al. Concentration of Polycyclic Aromatic Hydrocarbons (PAHs) in Human Serum and Adipose Tissues and Stimulatory Effect of Naphthalene in Adipogenesis in 3T3-L1 Cells. Int J Mol Sci 2023; 24: 1455.

12	Maier MLV. Benzo[a]pyrene (BaP) metabolites predominant in human plasma following escalating oral micro-dosing with [14C]-BaP. Environ Int 2022.

13	Riffelmann M, Müller G, Schmieding W, Popp W, Norpoth K. Biomonitoring of urinary aromatic amines and arylamine hemoglobin adducts in exposed workers and nonexposed control persons. Int Arch Occup Environ Health 1995; 68: 36–43.

14	Biomonitoring Data Tables for Environmental Chemicals | CDC. 2024; published online July 11. https://www.cdc.gov/exposurereport/data_tables.html (accessed May 22, 2025).

15	Hsu F-F, Lakshmi V, Rothman N, et al. Determination of Benzidine,N-Acetylbenzidine, andN,N′-Diacetylbenzidine in Human Urine by Capillary Gas Chromatography/Negative Ion Chemical Ionization Mass Spectrometry. Anal Biochem 1996; 234: 183–9.

16	Wang N, Kong D, Cai D, et al. Levels of Polychlorinated Biphenyls in Human Adipose Tissue Samples from Southeast China. Environ Sci Technol 2010; 44: 4334–40.